## System-LFP
DataCurves
Author | AZA.DG
Version | 2022-06-23a
Product-Type | System
SubType
Category | LFP
Brand | LiitoKala
Model | 280AH
Ref
Ref_url
Comment
| PointNo | Date | Available DOD | Capacity remaining at end of service life | Percente system maintenance | Renewal Cost at end service | Cell Cost Renewal at end service | Skilled Labor | Unskilled Labor | Nameplate Load | Service Life | Service Visits per year | Man hours per service visit | Per Service Visit material and travel cost | BMS Service life | Cabling Service life | Inverters Service life | HVAC Service life | Racks Service life | Container Service life
Unit |  |  | % | % | % | % | % | $/h | $/h | MW | year | unit | unit | $ | year | year | year | year | year | year
Curve-Interpolation |  |  | CONST | CONST | CONST | CONST | CONST | LINEAR | LINEAR | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST
| 0 | 2022-06-01 | 85% | 70% | 4% | 0% | 29% | 25 | 10 | 10 | 20 | 2 | 20 | 5000 | 10 | 25 | 20 | 20 | 20 | 15
1
2
3
4
5
6
7
8
| 9 | 2032-06-01 | [5 empty] | 39 | 28
10
11
12
13
14
15
16
17
18
19
20
21

## Container-LFP
DataCurves
Author | AZA.DG
Version | 2022-06-23a
Product-Type | Container
SubType | System
Category | LFP
Brand | LiitoKala
Model | 280AH
Ref
Ref_url
Comment
| PointNo | Date | Length | Width | Height | BatteryPack Quantity | Battery Max Sustained Discharge | Cost | Balloons Cost | HVAC Cost
Unit | [7 empty] | $ | $ | $
Curve-Interpolation |  |  | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST
| 0 | 2022-06-01 | 40 | 8 | 8 | 10 | 5 | 4 | 1.3 | 0.8
1
2
3
4
5
6
7
8
| 9 | 2032-06-01
10
11
12
13
14
15
16
17
18
19
20
21

## BatterySystem-LiFePO4-280Ah
DataCurves
Author | AZA.DG
Version | 2022-06-23a
Product-Type | BatterySystem
SubType | Container
Category | LFP
Brand | LiitoKala
Model | 280AH
Ref
Ref_url
Comment
| PointNo | Date | BatteryPack Quantity | Target full load power | Target Battery usage
Unit |  |  | unit | kW | %
Curve-Interpolation |  |  | CONST | CONST | CONST
| 0 | 2022-06-01 | 30 | 10 | 75%
1
2
3
4
5
6
7
8
| 9 | 2032-06-01
10
11
12
13
14
15
16
17
18
19
20
21

## BatteryPack-LiFePO4-280Ah
DataCurves
Author | AZA.DG
Version | 2022-06-23a
Product-Type | BatteryPack
SubType | BatterySystem
Category | LFP
Brand | LiitoKala
Model | 280AH
Ref
Ref_url
Comment
| PointNo | Date | Cell Quantity | Overhead Weight | Max Service Life | Battery Losses | Power Electronic Losses | Battery Max Sustained Discharge | Control Monitoring Losses | Thermal Ventilation losses | Daily self discharge percent of capacity | Thermal Ventilation location | BMS Cost | RTE | HVAC losses
Unit |  |  | unit | % | [7 empty] | % | $/kWh | % | %
Curve-Interpolation |  |  | CONST | CONST | LINEAR | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST
| 0 | 2022-06-01 | 12 | 10 | 10 | 95% | 8% | 5 | 5% | 1% | 0.1% | 1% | 10 | 55% | 6%
1
2
3
4
| 5 |  |  |  | 15
6
7
8
| 9 | 2032-06-01
10
11
12
13
14
15
16
17
18
19
20
21

## Casing-LiFePO4-280Ah
DataCurves
Author | AZA.DG
Version | 2022-06-23a
Product-Type | Casing
SubType | BatteryPack
Category | LFP
Brand | LiitoKala
Model | 280AH
Ref
Ref_url
Comment
| PointNo | Date | Height | Length | Width | Cell interspace | Casing | Manufacturing
Unit |  |  | mm | mm | mm | mm | $ | $
Curve-Interpolation |  |  | CONST | CONST | CONST | CONST | CONST | CONST
| 0 | 2022-06-01 | 400 | 400 | 400 | 4 | 4 | 2
1
2
3
4
5
6
7
8
| 9 | 2032-06-01
10
11
12
13
14
15
16
17
18
19
20
21

## Cell-LiFePO4-280Ah
DataCurves
Author | AZA.DG
Version | 2022-06-23a
Product-Type | Cell
SubType | BatteryPack
Category | LFP
Brand | LiitoKala
Model | 280AH
Ref
Ref_url
Comment
| PointNo | Date | Nominal Voltage | RTE (Round Trip Efficiency) | Nominal Capacity | Nominal Discharge Rate | Internal Resistance | Height | Length | Width | Volumetric Density | Energy Density (gravimetric) | Continuous Max Discharge Rate | Peak Discharge Rate Allowance (15s) | Cycle Life | Factory Cost | Material Cost | Charge Rate | End of life
Unit |  |  | V | % | Ah | C | Ohm | mm | mm | mm | g/cc | Wh/kg | C | C | cycles | $/KWh | $/KWh | h | year
Curve-Interpolation |  |  | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | CONST | LOG | LINEAR | LINEAR | CONST | LOG
| 0 | 2022-06-01 | 3.2 | 95% | 280 | 0.33333 | 0.2 | 200 | 200 | 75 | 2.5 | 130 | 1 | 3 | 3000 | 100 | 50 | 3 | 2
1
| 2 | [17 empty] | 4.5
| 3 | [17 empty] | 5
| 4 | [17 empty] | 5
5
| 6 | [17 empty] | 6
| 7 | [17 empty] | 8
8
| 9 | 2032-06-01 | [12 empty] | 4000 | 120 | 70
10
11
12
13
14
15
16
17
18
19
20
21